## Check List IIA
Check List for INTERIM INSPECTION of Inside Service/Fire Service [FOR Underground Pipes]
WWO 542 ASN
Prepared by
| Type of | [9 empty] | Signature | ____________________
| Building: |  |  | (a) Building of Storey >=4 | [6 empty] | Name of LP | ( )
|  |  |  | (b) Building of Storey <4 | [7 empty] | Plumber Licence No.__________________
|  |  |  | (c) Village House | [6 empty] | Date | ____________________
Certified by
| Address: | [9 empty] | Signature | ____________________
[11 empty] | Name of RPE | ( )
[11 empty] | Date | ____________________
Interim Inspection *Actual inspection / Check the completed checklists
[11 empty] | Date: | ____________________
| Location: |  |  | (a) / (b) / (c) / (d) | Other Details: | [5 empty] | Signature | ____________________
[11 empty] | Name | ( )
| (a) Underground Pipes before Meter : | [9 empty] | Post | ____________________
[10 empty] | (Please specify, if any) |  | WSD Officer
| Length |  |  | m | [6 empty] | Signature | ____________________
[11 empty] | Name | ( )
| (b) Underground Pipes after Meter (NOT master meter nor check meter position) : | [10 empty] | Plumber Licence No.__________________
Acknowledgement of
| Length |  |  | m | [7 empty] | Licensed Plumber (if applicable)
[10 empty] | 10% of length = |  | m is inspected.
(c) Concealed Pipes (not applicable for pilot scheme) :
| Flat |  |  | no. of units with concealed pipes | [5 empty] | 10% of flat units = |  | nos. are inspected.
(d) Others (if applicable): (for Partially Completed Works if inspected, NOT completed works as detailed in WWO 46 Part IV)
[*Note: For the purpose of early detection of defects in plumbing works, defects of other partially completed plumbing works (NOT completed works as detailed in WWO 46 Part IV) are NOT subject to Point Penalty System (PPS)]
*Fresh Water (FW), Flushing Water (FLW), Fire Service (FS).
No. | Item |  | Type (Delete FW/FLW for cases involving FS) | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
1 | Pipe Size |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
2 | Pipe Material |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
3 | Fittings - Valves |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
4 | Fittings - Slow Bend |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
5 | Fittings - Branch Tee |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
6 | Partially Completed Works - Pipe Size (to be recorded only if defect is found) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
7 | Partially Completed Works - Materials of Pipe and Pipe Jointing (to be recorded only if defect is found) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
8 | Partially Completed Works - Pipe Jointing Method (to be recorded only if defect is found) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
9 | Partially Completed Works - Fittings - Valves (to be recorded only if defect is found) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
10 | Pipe Alignment |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
11 | Partially Completed Works - Pipe Alignment (to be recorded only if defect is found) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Others
|  |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A

## Check List FIA - Tanks
Check List for FINAL INSPECTION of Inside Service/Fire Service [Tank and Pump Room]
WWO 542 ASN
| Type of | [8 empty] | Prepared by
| Building: |  | (a) Building of Storey >=4 | [6 empty] | Signature | ____________________
|  |  | (b) Separate Meter | [6 empty] | Name of LP | ( )
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [8 empty] | Plumber Licence No.__________________
[10 empty] | Date | ____________________
| Address: | [8 empty] | Certified by
[10 empty] | Signature | ____________________
[10 empty] | Name of RPE | ( )
[10 empty] | Date | ____________________
Final Inspection
| Selected Zone: |  |  | (a) Roof Tank | [5 empty] | Date: | ____________________
|  |  |  | (b) Intermediate Tank | [5 empty] | Signature | ____________________
| Extra Sample |  |  | (c) Sump Tank and Pump Room | [5 empty] | Name | ( )
|  |  |  | (d) Break Pressure Tank | [5 empty] | Post | ____________________
|  |  |  | (e) Break Tank | [6 empty] | WSD Officer
|  |  |  | (f) Other, please specify. | [5 empty] | Signature | ____________________
[10 empty] | Name | ( )
| Type: |  |  | (a) Fresh Water (FW) | [6 empty] | Plumber Licence No.__________________
|  |  |  | (b) Flushing Water (FLW) | [6 empty] | Acknowledgement of
|  |  |  | (c ) Fire Service (FS) | [6 empty] | Licensed Plumber
No. | Item |  | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
Tank
1 | Inlet Pipe Size |  |  | þ | / | ý | / | N/A
2 | Outlet Pipe Size |  |  | þ | / | ý | / | N/A
3 | Materials of Pipe/Fittings |  |  | þ | / | ý | / | N/A
4 | Control Valves at Inlet/Outlet |  |  | þ | / | ý | / | N/A
5 | Rooftop Booster Pump for Topmost Floors - Gate Valve |  |  | þ | / | ý | / | N/A
6 | Rooftop Booster Pump for Topmost Floors - Branch Tee |  |  | þ | / | ý | / | N/A
7 | Rooftop Booster Pump for Topmost Floors - Non-return valve / strainer (Note: Applicable for the Annex to Form WWO 46 submitted on or after 1 April 2016) |  |  | þ | / | ý | / | N/A
Pump Room
8 | Gate Valve |  |  | þ | / | ý | / | N/A
9 | Fitting - Branch Tee |  |  | þ | / | ý | / | N/A
10 | Non-return valve / strainer (Note: Applicable for the Annex of Form WWO 46 submitted on or after 1 April 2016) |  |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
Tank
11 | Siting of Water Tank |  |  | þ | / | ý | / | N/A
12 | Inlet Pipe Position |  |  | þ | / | ý | / | N/A
13 | Outlet Pipe Position |  |  | þ | / | ý | / | N/A
14 | Cover of Water Tank (e.g. double upstand edges for potable water tank) |  |  | þ | / | ý | / | N/A
15 | Storage Capacity Sign |  |  | þ | / | ý | / | N/A
16 | Materials of Water Tank |  |  | þ | / | ý | / | N/A
17 | Safe Access for Cleansing or Repairs of Water Tanks |  |  | þ | / | ý | / | N/A
18 | Overflow Pipe Size |  |  | þ | / | ý | / | N/A
19 | Overflow Pipe with a Grating and Self-closing Flap |  |  | þ | / | ý | / | N/A
20 | Overflow/Warning Pipe discharge to conspicuous position or outside building periphery on roof |  |  | þ | / | ý | / | N/A
21 | Warning Pipe not less than 25mm in Diameter |  |  | þ | / | ý | / | N/A
22 | Siting Gap between Potable and Non-potable Tanks |  |  | þ | / | ý | / | N/A
23 | Provision of Washout |  |  | þ | / | ý | / | N/A
24 | Internal Surfaces of Floors, Walls and Soffits of Potable Water Tank |  |  | þ | / | ý | / | N/A
25 | Rooftop Booster Pump for Topmost Floors - No. of Pump |  |  | þ | / | ý | / | N/A
26 | Rooftop Booster Pump for Topmost Floors - Flexible Joints |  |  | þ | / | ý | / | N/A
27 | Rooftop Booster Pump for Topmost Floors - any plate to show pump data |  |  | þ | / | ý | / | N/A
28 | Rooftop Booster Pump for Topmost Floors - Non-return valve / strainer (Note: To be under Part A of the checklist for the Annex of Form WWO 46 submitted on or after 1 April 2016) |  |  | þ | / | ý | / | N/A
Pump Room
29 | Flexible Joint of pumpsets |  |  | þ | / | ý | / | N/A
30 | No. of Pump |  |  | þ | / | ý | / | N/A
31 | Plate to show pump data |  |  | þ | / | ý | / | N/A
32 | Non-return valve / strainer (Note: To be under Part A of the checklist for the Annex of Form WWO 46 submitted on or after 1 April 2016) |  |  | þ | / | ý | / | N/A
Others
|  |  |  | þ | / | ý | / | N/A

## Check List FIB - MM
Check List for FINAL INSPECTION of Inside Service / Fire Service [Master Meter/Check Meter/Meter Position and Adjoining Pipes and Fittings/Master Meter Room]
WWO 542 ASN
| Type of | [8 empty] | Prepared by
| Building: | Building of Storey >=4 | [7 empty] | Signature | ____________________
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [7 empty] | Name of LP | ( )
Plumber Licence No.__________________
| Address: | [8 empty] | Date | ____________________
Certified by
[10 empty] | Signature | ____________________
[10 empty] | Name of RPE | ( )
| Selected Zone: | [8 empty] | Date | ____________________
| Extra Sample: | [8 empty] | Final Inspection
[10 empty] | Date: | ____________________
[10 empty] | Signature | ____________________
| Type: |  | (a) Fresh Water | [6 empty] | Name | ( )
|  |  | (b) Flushing Water | [6 empty] | Post | ____________________
|  |  | (c) Fire Service | [7 empty] | WSD Officer
[10 empty] | Signature | ____________________
[10 empty] | Name | ( )
Plumber Licence No.__________________
Acknowledgement of
Licensed Plumber
No. | Item |  | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
(a) Master Meter / Check Meter / Meter Position and Adjoining Pipes and Fittings (at a typical location)
1 | Pipe Materials |  |  | þ | / | ý | / | N/A
2 | Pipe Fittings (e.g. valves, elbows and slow bend, branch tee etc.) |  |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
(b) Master Meter / Check Meter / Meter Position and Adjoining Pipes and Fittings (at a typical location)
3 | Siting of Master Meter/ Check Meter Position |  |  | þ | / | ý | / | N/A
4 | Pipe Alignment |  |  | þ | / | ý | / | N/A
5 | Display Board |  |  | þ | / | ý | / | N/A
6 | Uninterrupted Access |  |  | þ | / | ý | / | N/A
7 | Clear Working Space |  |  | þ | / | ý | / | N/A
(c) Master Meter Room
8 | Universal Beam (e.g. lifting capacity sign etc.) |  |  | þ | / | ý | / | N/A
9 | Certificate of Test of Lifting Appliances |  |  | þ | / | ý | / | N/A
10 | Door (e.g. opening dimensions, door handles, prohibition of self-closing door) |  |  | þ | / | ý | / | N/A
11 | Building Services Facilities (e.g. drainage and others etc.) |  |  | þ | / | ý | / | N/A
Others
|  |  |  | þ | / | ý | / | N/A

## Check List FIC - MC
Check List for FINAL INSPECTION of Inside Service [Meter Cabinet/Room]
WWO 542 ASN
| Type of | [8 empty] | Prepared by
| Building: | Building of Storey >=4 | [7 empty] | Signature | ____________________
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [7 empty] | Name of LP | ( )
Plumber Licence No.__________________
i | Address: | [8 empty] | Date | ____________________
Certified by
[10 empty] | Signature | ____________________
[10 empty] | Name of RPE | ( )
| Selected Zone: |  |  | (a) Typical | [5 empty] | Date | ____________________
| Type: |  |  | (b) Non-typical | [5 empty] | Final Inspection
[10 empty] | Date: | ____________________
| Extra Sample: | [8 empty] | Signature | ____________________
[10 empty] | Name | ( )
[10 empty] | Post | ____________________
WSD Officer
[10 empty] | Signature | ____________________
[10 empty] | Name | ( )
Plumber Licence No.__________________
Acknowledgement of
Licensed Plumber
No. | Item |  | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
1 | Pipe Materials |  |  | þ | / | ý | / | N/A
2 | Pipe Fittings (e.g. valves, elbows and slow bend, branch tee etc.) |  |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
3 | Siting of Meter/ Check Meter Position |  |  | þ | / | ý | / | N/A
4 | Pipe Alignment |  |  | þ | / | ý | / | N/A
5 | Building Services Facilities (e.g. drainage and others etc.) |  |  | þ | / | ý | / | N/A
6 | Display Board |  |  | þ | / | ý | / | N/A
7 | Uninterrupted Access |  |  | þ | / | ý | / | N/A
8 | Door (e.g. opening dimensions, door handles, prohibition of self-closing door) |  |  | þ | / | ý | / | N/A
9 | Clear Working Space |  |  | þ | / | ý | / | N/A
Others
|  |  |  | þ | / | ý | / | N/A

## Check List FIE - Connection
Check List for FINAL INSPECTION of Inside Service/Fire Service [Connection]
WWO 542 ASN
| Type of | [9 empty] | Prepared by
| Building: | Building of Storey >=4 | [8 empty] | Signature | ____________________
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [8 empty] | Name of LP | ( )
Plumber Licence No.__________________
| Address: | [9 empty] | Date | ____________________
Certified by
[11 empty] | Signature | ____________________
[11 empty] | Name of RPE | ( )
[11 empty] | Date | ____________________
Selected Zone:
|  |  | (Location of the connection point) | [7 empty] | Final Inspection
| Extra Sample: | [9 empty] | Date: | ____________________
[11 empty] | Signature | ____________________
[11 empty] | Name | ( )
[11 empty] | Post | ____________________
WSD Officer
[11 empty] | Signature | ____________________
[11 empty] | Name | ( )
Plumber Licence No.__________________
Acknowledgement of
| *Fresh Water (FW), Flushing Water (FLW), Fire Service (FS). | [10 empty] | Licensed Plumber
No. | Item |  | Type (Delete FW/FLW for cases involving FS) | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
1 | Size of Connection Pipe |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
2 | Pipe Material |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
3 | Boundary Valve |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
4 | Fittings - Branch Tee |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
5 | Position of Connection Pipe |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
6 | Pipe Alignment |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Others
|  |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A

## Check List FIF - Communal
Check List for FINAL INSPECTION of Inside Service/Fire Service [Communal Part]
WWO 542 ASN
| Building: | Building of Storey >=4 | [8 empty] | Prepared by
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [8 empty] | Signature | ____________________
[11 empty] | Name of LP | ( )
| Address: | [10 empty] | Plumber Licence No.__________________
[11 empty] | Date | ____________________
Certified by
[11 empty] | Signature | ____________________
[11 empty] | Name of RPE | ( )
| Selected zones | [9 empty] | Date | ____________________
(Riser pipe & valve):
Final Inspection
| Selected zones | [9 empty] | Date: | ____________________
| (Down-feed pipe & valve): | [9 empty] | Signature | ____________________
[11 empty] | Name | ( )
| Extra Samples: | [9 empty] | Post | ____________________
WSD Officer
[11 empty] | Signature | ____________________
[11 empty] | Name | ( )
Plumber Licence No.__________________
Acknowledgement of
Licensed Plumber
*Fresh Water (FW), Flushing Water (FLW), Fire Service (FS).
No. | Item |  | Type (Delete FW/FLW for cases involving FS) | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
1 | Pipe Size |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
2 | Pipe Material |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
3 | Fittings - Valve |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
4 | Fittings - Elbow |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
5 | Fittings - Slow Bend |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
6 | Fittings - Branch Tee |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
7 | Pressure Reducing Valve (Note: Applicable for the Annex to Form WWO 46 submitted on or after 1 April 2016) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
8 | Pipe Alignment |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
9 | Break Pressure Tank |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
10 | Pressure Reducing Valve (Note: To be under Part A of the checklist for the Annex to Form WWO 46 submitted on or after 1 April 2016) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Others
|  |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A

## Check List FIG - Communal Misc
Check List for FINAL INSPECTION of Inside Service/Fire Service [Communal Part (Miscellaneous)]
WWO 542 ASN
| Building: | Building of Storey >=4 | [8 empty] | Prepared by
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [8 empty] | Signature | ____________________
| Address: | [9 empty] | Name of LP | ( )
Plumber Licence No.__________________
[11 empty] | Date | ____________________
Certified by
[11 empty] | Signature | ____________________
| Selected Zone: | [9 empty] | Name of RPE | ( )
|  |  | (a) Swimming Pool (with balancing tank) | [7 empty] | Date | ____________________
(b) Swimming Pool (with feed tank)
|  |  | (c) Irrigation | [7 empty] | Final Inspection
|  |  | (d) Cleansing | [7 empty] | Date: | ____________________
|  |  | (e) Others (e.g. Hydrant, Hose Reel,Sprinkler, Fountain, etc.) | [7 empty] | Signature | ____________________
[11 empty] | Name | ( )
[11 empty] | Post | ____________________
| Extra Sample: | [10 empty] | WSD Officer
[11 empty] | Signature | ____________________
[11 empty] | Name | ( )
Plumber Licence No.__________________
Acknowledgement of
Licensed Plumber
*Fresh Water (FW), Flushing Water (FLW), Fire Service (FS).
No. | Item |  | Type (Delete FW/FLW for cases involving FS) | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46 (min. 1 photo to cover all typical pipe/material items)
1 | Pipe Size/Material |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
2 | Fittings - Valve |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
3 | Fittings - Elbow/Slow Bend/Branch Tee |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
4 | Pressure Reducing Valve (Note: Applicable for the Annex to Form WWO 46 submitted on or after 1 April 2016) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings (no photo required unless defect found)
5 | Pipe Alignment |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
6 | Pressure Reducing Valve (Note: To be under Part A for the Annex to Form WWO 46 submitted on or after 1 April 2016) |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Others
|  |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A

## Check List FIH - Individual
Check List for FINAL INSPECTION of Inside Service/Fire Service [Individual Household Flat/Unit]
WWO 542 ASN
| Type of | [9 empty] | Prepared by
| Building: |  | (a) Building of Storey >=4 | [7 empty] | Signature | ____________________
|  |  | (b) Separate Meter | [7 empty] | Name of LP | ( )
|  | [*Note: For Building of Storey < 4 and Village House, use Form FI-I] | [9 empty] | Plumber Licence No.__________________
[11 empty] | Date | ____________________
| Address: | [9 empty] | Certified by
[11 empty] | Signature | ____________________
[11 empty] | Name of RPE | ( )
[11 empty] | Date | ____________________
Final Inspection
[11 empty] | Date: | ____________________
[11 empty] | Signature | ____________________
| Total No. of Household Units = |  |  |  | No. (for (a) Building of Storey >=4) | [5 empty] | Name | ( )
[11 empty] | Post | ____________________
WSD Officer
| Selected Household Type / Zone: | [9 empty] | Signature | ____________________
[11 empty] | Name | ( )
| Extra Sample: | [10 empty] | Plumber Licence No.__________________
Acknowledgement of
Licensed Plumber
Minimum photo requirement: (for (a) Building of Storey >=4)
1. 1 picture of sampling board to cover all typical fittings including valves, soldering material, flux, taps, mixer, etc. and pipe materials & all documents,
2. 1 set of photos for 1 set of inspected elements :- (i) exposed pipe; (ii) water heater; (iii) exposed pipe fitting; (iv) kitchen tap/mixer/valve; and (v) toilet tap/mixer/valve shall be taken.
*Fresh Water (FW), Flushing Water (FLW), Fire Service (FS).
No. | Item |  | Type (Delete FW/FLW for cases involving FS) | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
Part A - Annex to Form WWO 46
(i) Exposed Pipe
1 | Pipe Size |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
2 | Pipe Material |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
(ii) Water Heater
3 | Water Heater |  | FW |  | þ | / | ý | / | N/A
(iii) Exposed Pipe Fitting
4 | Fittings - Valve |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
5 | Fittings - Elbow |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
6 | Fittings - Slow Bend |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
7 | Fittings - Branch Tee |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
(iv) Kitchen tap/mixer/valve
8 | Kitchen Tap - Tap/Mixer |  | FW |  | þ | / | ý | / | N/A
9 | Kitchen Tap - Angle Valve / Stop Valve |  | FW |  | þ | / | ý | / | N/A
(v) Toilet tap/mixer/valve
10 | Toilet - Wash Basin Mixer |  | FW |  | þ | / | ý | / | N/A
11 | Toilet - Angle Valve / Stop Valve |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
12 | Toilet - Shower Mixer |  | FW |  | þ | / | ý | / | N/A
13 | Toilet -Bath Mixer |  | FLW |  | þ | / | ý | / | N/A
14 | Toilet - Cistern Valve |  | FLW |  | þ | / | ý | / | N/A
Part B - Approved plumbing drawings
(vi) Exposed Pipe
15 | Pipe Alignment |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A
Others
|  |  | FW |  | þ | / | ý | / | N/A
|  |  | FLW |  | þ | / | ý | / | N/A

## Check List FII - Village
Check List for FINAL INSPECTION of Inside Service/Fire Service [Building of Storey < 4, Village House and Construction Supply]
| Type of | [8 empty] | WWO 542 ASN
| Building: | (a) Building of Storey <4
|  | (b) Village House | [7 empty] | Prepared by
|  | (c) Construction Supply | [7 empty] | Signature | ____________________
[10 empty] | Name of LP | ( )
| Address: | [9 empty] | Plumber Licence No.__________________
[10 empty] | Date | ____________________
| Selected Household | [8 empty] | Certified by
| Flat/Unit for Part (d): | [8 empty] | Signature | ____________________
[10 empty] | Name of RPE | ( )
| Extra Sample | [8 empty] | Date | ____________________
(if necessary):
[9 empty] | (Please specify) | Final Inspection
[10 empty] | Date: | ____________________
| Minimum photo requirement: | [8 empty] | Signature | ____________________
| 1. One picture of inlet/outlet valve of a water tank, | [8 empty] | Name | ( )
| 2. One picture of non-return valve (if any), | [8 empty] | Post | ____________________
| (Applicable for the Annex to Form WWO 46 submitted on or after 1 April 2016) | [9 empty] | WSD Officer
| 3. One picture covering whole/majority part of meter box including loose jumper stopcock/gate valve, | [8 empty] | Signature | ____________________
| 4. One picture covering whole/majority part of incoming connection, | [8 empty] | Name | ( )
| 5. One picture covering exposed pipe material and elbow/bend/tee/valve, | [9 empty] | Plumber Licence No.__________________
| 6. One picture of a water heater (if any), | [9 empty] | Acknowledgement of
| 7. One picture covering majority part of plumbing installation of a kitchen, | [9 empty] | Licensed Plumber
8. One picture covering majority part of plumbing installation of a toilet/bath room.
*Fresh Water (FW), Flushing Water (FLW), Fire Service (FS).
No. | Item | Type (Delete FW/FLW for cases involving FS) | Details/Attached Photo Ref. (e.g. Brand Name/Model No./Location etc. if available) | Inspection Results (Circle appro-priate box) |  |  |  |  | Defects (Please specify the details, if any) | WWO 1008 Reference [INDICATIVE only] | Remarks
(a) Connection
1 | Position of Connection Point | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
2 | Connection Pipe : Size/Material/Alignment | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
3 | Boundary Valve | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
(b) Meter Cabinet/Box (Select a typical location for inspection)
4 | Siting of Meter/ Check Meter Position | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
5 | Display Board/Indication | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
6 | Pipe Material/Alignment | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
7 | Pipe Fittings (e.g. valves, elbows and slow bend, branch tee etc.) | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
8 | Uninterrupted Access/Clear Working Space | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
(c) Communal Part (Select a typical location for inspection)
9 | Pipe Size /Material /Alignment | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
10 | Fittings - Valve/Elbow/Slow Bend/Branch Tee | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
11 | Non-return valve (Note: Applicable for the Annex to Form WWO 46 submitted on or after 1 April 2016) | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
(d) Individual Household Flat/Unit
12 | Exposed Pipe Size /Material /Alignment | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
13 | Water Heater | FW |  | þ | / | ý | / | N/A
14 | Fittings - Valve/Elbow/Slow Bend/Branch Tee | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
15 | Kitchen Tap - Tap/Mixer | FW |  | þ | / | ý | / | N/A
16 | Kitchen Tap - Angle Valve / Stop Valve | FW |  | þ | / | ý | / | N/A
17 | Toilet - Wash Basin Mixer | FW |  | þ | / | ý | / | N/A
18 | Toilet - Angle Valve / Stop Valve | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A
19 | Toilet - Shower/Bath Mixer | FW |  | þ | / | ý | / | N/A
20 | Toilet - Cistern Valve | FLW |  | þ | / | ý | / | N/A
(e) Water Tank (Select a typical tank for inspection)
21 | Water Tank Material/ Storage Capacity Sign | FW/FLW |  | þ | / | ý | / | N/A
22 | Inlet Pipe Size/ Material/ Position | FW/FLW |  | þ | / | ý | / | N/A
23 | Inlet Control Valve | FW/FLW |  | þ | / | ý | / | N/A
24 | Outlet Pipe Size/ Material/ Position | FW/FLW |  | þ | / | ý | / | N/A
25 | Outlet Control Valve | FW/FLW |  | þ | / | ý | / | N/A
26 | Overflow Pipe Position/Size/Grating/ Discharge | FW/FLW |  | þ | / | ý | / | N/A
27 | Provision of Washout | FW/FLW |  | þ | / | ý | / | N/A
28 | Safe Access for Cleansing or Repairs of Water Tanks | FW/FLW |  | þ | / | ý | / | N/A
29 | Cover of Water Tank | FW/FLW |  | þ | / | ý | / | N/A
Others
30 |  | FW |  | þ | / | ý | / | N/A
|  | FLW |  | þ | / | ý | / | N/A

## Glossary
Glossary 辭彙對照表
英文詞條 | 中文詞條
Boundary Valve | 邊界閥
Break Pressure Tank | 減壓缸
Building Services Facilities (e.g. drainage and others etc.) | 屋宇設備裝置 (例如 排水設備及其他等)
Certificate of Test of Lifting Appliances | 承重裝置測試証明書
Clear Working Space | 淨作業空間
Control Valve at Inlet | 進水控制閥
Control Valve at Outlet | 出水控制閥
Cover of Water Tank (e.g. double upstand edges for potable water tank) | 水箱蓋 (例如 食水箱設有雙行豎邊)
Display Board | 展示板
Door to Room / Cabinet (e.g. Opening dimensions, door handles) (Prohibition of self-closing door) | 水錶房 / 箱入口 (例如 開口面積、門柄等) (不得加設任何自動關閉裝置)
Fittings - Branch Tee | 配件 - 支管三叉
Fittings - Elbow | 配件 - 曲尺喉
Fittings - Slow Bend | 配件 - 慢灣
Fittings - Valve | 配件 - 閥
Fittings - Valves | 配件 - 閥
Flexible Joint of Pumpsets | 水泵撓性接頭
FLW | 沖廁水
FW | 食水
Gate Valve | 閘閥
Inlet Pipe Position | 進水管位置
Inlet Pipe Size | 進水管尺碼
Internal Surfaces of Floors, Walls and Soffits of Potable Water Tank | 飲用水儲水缸缸底、缸壁和拱腹的內表層
Kitchen Tap No.1 - Tap / Mixer | 1號廚房水龍頭 - 水龍頭 / 混合閥
Kitchen Tap No.1 - Angle Valve / Stop Valve | 1號廚房水龍頭 - 曲尺閥 / 斷流閥
Kitchen Tap No.2 - Tap / Mixer | 2號廚房水龍頭 - 水龍頭 / 混合閥
Kitchen Tap No.2 - Angle Valve / Stop Valve | 2號廚房水龍頭 - 曲尺閥 / 斷流閥
Materials of Fittings | 配件物料
Materials of Pipe | 水管物料
Materials of Water Tank | 水箱物料
No. of Pump | 水泵數量
Non-return Valve | 止回閥
Others | 其他
Outlet Pipe Position | 出水管位置
Outlet Pipe Size | 出水管尺碼
Over Pipe Size | 溢流管尺碼
Overflow Pipe with a Grating and Self-closing Flap | 溢流管裝設格柵及自動關閉舌瓣
Overflow Pipe / Warning Pipe Discharge to a Conspicuous Position or Outside Building Periphery on Roof | 溢流管 / 警戒管引至易於看見地方或在天台大廈外圍
Partially Completed Works - Fittings - Valves | 部分完成工程 - 配件 - 閥
Partially Completed Works - Material of Pipe and Pipe jointing | 部分完成工程 - 水管物料及水管接合
Partially Completed Works - Pipe Alignment | 部分完成工程 - 水管路線
Partially Completed Works - Pipe jointing Method | 部分完成工程 - 水管接合方法
Partially Completed Works - Pipe Size | 部分完成工程 - 水管尺碼
Pipe Alignment | 水管路線
Pipe Fittings (e.g. valves, elbows and slow bend, branch tee etc.) | 水管配件 (例如 閥、曲尺喉及慢灣、支管三叉等)
Pipe Material | 水管物料
Pipe Size | 水管尺碼
Position of Connection Pipe | 駁喉位置
Pressure Reducing Valve | 減壓閥
Provision of Washout | 排水管設備
Pump Data (as shown on plate) | 水泵資料 (印在金屬板)
Rooftop Booster Pump for Topmost Floors - Branch Tee | 給頂層用天台增壓水泵 - 支管三叉
Rooftop Booster Pump for Topmost Floors - Flexible Joints | 給頂層用天台增壓水泵 - 撓性接頭
Rooftop Booster Pump for Topmost Floors - Gate Valve | 給頂層用天台增壓水泵 - 閘閥
Rooftop Booster Pump for Topmost Floors - No. of Pump | 給頂層用天台增壓水泵 - 水泵數量
Rooftop Booster Pump for Topmost Floors - Non-return Valve | 給頂層用天台增壓水泵 - 止回閥
Rooftop Booster Pump for Topmost Floors - Pump Data (as shown on plate) | 給頂層用天台增壓水泵 - 水泵資料 (印在金屬板)
Safe Access for Cleansing or Repairs of Water Tanks | 安全通道進行清洗及修理水箱
Siting Gap between Potable and Non-potable Tanks | 飲用水儲水箱與非飲用水儲水箱之間留有空間
Siting of Master Meter / Check Meter Position | 總水錶 / 檢測錶位位置
Siting of Meter / Check Meter Position | 水錶 / 檢測錶位位置
Siting of Water Tank | 水箱位置
Size of Connection Pipe | 駁喉尺碼
Storage Capacity | 存水量
Toilet No.1 - Angle Valve / Stop Valve | 1號洗手間 - 曲尺閥 / 斷流閥
Toilet No.1 - Cistern Valve | 1號洗手間 - 沖廁水箱閥
Toilet No.1 - Shower Mixer | 1號洗手間 - 淋浴混合閥
Toilet No.1 - Wash Basin Mixer | 1號洗手間 - 洗手盆混合閥
Toilet No.1 - Bath Mixer | 1號洗手間 - 浴缸混合閥
Uninterrupted Access | 暢通無阻進出
Universal Beam (e.g. lifting capacity etc.) | 通用橫樑 (例如 承重能力等)
Warning Pipe not less than 25mm in Diameter | 警戒管管徑不少於25毫米
Water Heater | 熱水器