**Appendix III**

**Submission for Temporary Resumption of Water Supply**

**for Purposes other than Drinking and Cooking for Online Re-plumbing Works**

To the Water Authority,

ASN: 1234567899

Address of works: XXXXXXXXXXXXXXX

I hereby submit to you the following section of works that had been completed:

1. **Works Completed :-**

|  |  |
| --- | --- |
| Location of works | Description of completed works |
| Riser Mains at Roof Level | Re-plumbing works of 54mm diameter fresh water copper pipe (Photo 1 and Photo 2)  Satisfactory result of non-destructive test at one solder joint (Photos 3 and Photo 4) |
|  |  |
|  |  |

1. **Site photo(s) showing the completed works described in (A) and the relevant pipes and fittings to be attached on separate sheet(s):-**

*(Note: If soldering is adopted for connecting copper pipes, please also attach relevant photo(s) to show a satisfactory result of non-destructive test of lead content for the copper pipe joint.)*

1. **I undertake and declare that the information given in this submission and photos attached is true, correct and complete.**

|  |
| --- |
| XXXXXXXXXXXXX  Signature of Licensed Plumber/ Representative of Licensed Plumber |
| XXXXXXXXXXX  Name in full |
| XXXXXXXXX  Plumber’s Licence No. |
|  |
| Date: XX/X/XXXX |



ASN: 1234567899

Photo 1



ASN: 1234567899

Photo 2



ASN: 1234567899

Photo 3



ASN: 1234567899

Photo 4