Internal/External Audit (cross out if inappropriate)

| No. | Item to be examined | / / NA | Records/Items reviewed/ inspected | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Is the WSP up to date? |  |  |  |
| 2 | Has a person been designated to be responsible for the WSP? |  |  |  |
| 3 | Are general descriptions of the building available in the WSP? |  |  |  |
| 4 | Are types of water supply specified in the WSP? |  |  |  |
| 5 | Are records of water quality testing available? |  |  |  |
| 6 | Have water quality tests been conducted as specified? |  |  |  |
| 7 | Are records of previous audits available? |  |  |  |
| 8 | Have audits been undertaken at least once every two years? |  |  |  |
| 9 | Have findings of previous audits been appropriately followed up? |  |  |  |
| 10 | Are records of previous WSP reviews available? |  |  |  |
| 11 | Have WSP reviews been conducted at least once every two years? |  |  |  |
| 12 | Is the plumbing system of the building described in the form of diagram(s) in the WSP, e.g. schematic water supply flow diagrams? |  |  |  |
| 13 | Is/Are the diagram(s) up to date and accurate? |  |  |  |
| 14 | Are all principal components of the plumbing system included in the diagram(s)? |  |  |  |
| 15 | Are the plumbing components in good conditions or as described in the records? |  |  |  |
| 16 | Have major hazards/hazardous events of the plumbing system been identified in the WSP? |  |  |  |
| 17 | Have the risks been systemically assessed in the WSP? |  |  |  |
| 18 | Have control measures for the risks been identified in the WSP? |  |  |  |
| 19 | Have monitoring procedures including targets been derived in the WSP? |  |  |  |
| 20 | Have the building management staff undertaken general checking as specified in the WSP? |  |  |  |
| 21 | Has training been provided to building management staff to perform general checking? |  |  |  |
| 22 | Has cleansing of water storage tank(s) been done in accordance with the typical frequency? |  |  |  |
| 23 | Have point-of-use devices, e.g. filters, been properly maintained? |  |  |  |
| 24 | Have qualified persons been engaged to conduct checking as specified in the WSP? |  |  |  |
| 25 | Are the checking records appropriately completed and maintained? |  |  |  |
| 26 | Have corrective actions been undertaken timely if the checking targets were not met? |  |  |  |
| 27 | Have any abnormalities been observed during the checking or inspections? Have these abnormalities been rectified or addressed timely? |  |  |  |
| 28 | Are appropriate supporting programmes, e.g. routine flushing or maintenance programme, available? |  |  |  |

Other observations/recommendations (use additional sheets if necessary):

_____________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________

| Auditor’s Name & Signature* | : | ______________________________________ |
| --- | --- | --- |
| Post Title | : | ______________________________________ | Date | : | _____________________________ |

*The Auditor should not be involved in the implementation of the WSP for the above-audited building.

| Designated Person’s Name & Signature | : | ______________________________________ |
| --- | --- | --- |
| Post Title | : | ______________________________________ | Date | : | _____________________________ |